**Seven-Day Public Notification Form**

Point of Contact: Village of Greenwich, Wastewater Treatment Department, 419-752-4725

Date: 7/5/2022 12:30pm

NPDES Permit Number: 2PB00059\*JD

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| CSO Discharge(Check All that Apply) | X |  | X | X |
| **CSO Station Number** | **002** | **018** | **022** | **023** |
| CSO Location | E Bank across from lift station on Townsend St. | Located on Bank at 28 ½ New Street | N. Bank creek on Countryside Drive | Main lift station at N. Pleasant St. by railroad tracks |
| Receiving Water Body | Unnamed Tributary of VermilionRiver | Unnamed Tributary of VermilionRiver | Unnamed Tributary of VermilionRiver | Unnamed Tributary of Vermilion River |
| Date CSO Ended | 7/5/2022 |  | 7/5/2022 | 7/5/2022 |
| Time CSO Ended | Unknown |  | Unknown | Unknown |
| Volume of Discharge\*(Million Gallons) | .038 |  | .081 | .037 |

Notes:

\* If multiple discharges occurred in this event, include the total volume from all outfalls

Comments:

**Completed forms should immediately be sent to the following email addresses with the subject line: *Village of Greenwich WWTP 7-Day CSO Notification***

**villageadmin@villageofgreenwich.com****;** **environmental@huroncohealth.com****;** **Techsupport@villageofgreenwich.com** **This form must be made available on the Village Wastewater Website at:** [**https://villageofgreenwich.com/wastewater/**](https://uppersanduskyoh.com/wastewater/) **within seven days of the time of becoming aware the discharge has ended.**