**Seven-Day Public Notification Form**

Point of Contact: Village of Greenwich, Wastewater Treatment Department, 419-752-4725

Date: 5/28/2024 07:30am

NPDES Permit Number: 2PB00059\*JD

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| CSO Discharge  (Check All that Apply) |  |  | X |  |
| **CSO Station Number** | **002** | **018** | **022** | **023** |
| CSO Location | E Bank across from lift station on Townsend St. | Located on Bank at 28 ½ New Street | N. Bank creek on Countryside Drive | Main lift station at N. Pleasant St. by railroad tracks |
| Receiving Water Body | Unnamed Tributary of Vermilion  River | Unnamed Tributary of Vermilion  River | Unnamed Tributary of Vermilion  River | Unnamed Tributary of Vermilion  River |
| Date CSO Ended |  |  | 5/28/2024 |  |
| Time CSO Ended |  |  | Unknown |  |
| Volume of Discharge\*  (Million Gallons) |  |  | .007 |  |

Notes:

\* If multiple discharges occurred in this event, include the total volume from all outfalls

Comments:

**Completed forms should immediately be sent to the following email addresses with the subject line: *Village of Greenwich WWTP 7-Day CSO Notification***

[**villageadmin@villageofgreenwich.com**](mailto:aputnam@uppersanduskyoh.com)**;** [**environmental@huroncohealth.com**](mailto:envhealth@co.wyandot.oh.us)**;** [**Techsupport@villageofgreenwich.com**](mailto:Cmattimoe@uppersanduskyoh.com) **This form must be made available on the Village Wastewater Website at:** [**https://villageofgreenwich.com/wastewater/**](https://uppersanduskyoh.com/wastewater/) **within seven days of the time of becoming aware the discharge has ended.**